# Chemistry Dept. – Monthly Inspection Checklist for Lab Users

Lab #	     Year:		Answer YES or NO in boxes provided; if NO, describe deficiency and location; note corrective measures taken

|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Note date, deficiencies & corrective measures taken |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Checklist completed by (initials) in monthly box |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Emergency Procedures posted and current |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check First Aid Kit and restock if necessary |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Personal protection available and worn? Are PPE requirements posted at lab entrance? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are Lab Areas free of evidence of Food/beverage consumption? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are aisles/doorways free of slip/trip/fall hazards? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are electrical panels visible and accessible? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are fire extinguishers accessible and in working order? (**) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have boxes been emptied, contents stored safely, box hazard labels defaced and the box disposed of? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have materials for recycling been removed from lab areas? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fume hoods neat and functioning |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fume hood sash at marked level |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Flammable solvent <25L in open lab |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No floor storage of flammables |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Peroxidizable compounds dated on opening and reviewed/tested every 3 months? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chemical containers closed? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chemical containers properly labeled with full chemical name? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Compatible storage of chemicals |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chemical storage cabinets labeled with hazard class |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are emergency shower/eyewash stations accessible? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The emergency eyewash needs to be tested weekly to ensure water is running clear of sediments. (*) Person Assigned to: _______________________ |  w 1  w 2  w 3  w 4 |  w 1  w 2  w 3  w 4 |  w 1  w 2  w 3  w 4 |  w 1  w 2  w 3  w 4 |  w 1  w 2  w 3  w 4 |  w 1  w 2  w 3  w 4 |  w 1  w 2  w 3  w 4 |  w 1  w 2  w 3  w 4 |  w 1  w 2  w 3  w 4 |  w 1  w 2  w 3  w 4 |  w 1  w 2  w 3  w 4 |  w 1  w 2  w 3  w 4 |  |

(*) checkmark table for each week tested

(**) Notify the safety office 75216 if fire extinguisher is missing or has tamper tag													        Form updated:  April 10, 2019